| Issued: | ENGINEERING DIVISION | Index Nº: |
| --- | --- | --- |
| March 2018 | POLICIES & PROCEDURES | GEN008 |
| Revised: |  | Approved By: |
|  |  | GM.DOE |
|  | GENERAL |  |
| New Revision Due: |  |  |

Subject: Fire Systems Impairment Notification Form

2 pages

POLICY

To ensure correct procedures are followed when planning an impairment of a Fire System.

Để đảm bảo các quy trình chính xác được tuân theo khi lập kế hoạch suy giảm hệ thống chữa cháy.

# PROCEDURE

All Impairments to Fire Systems i.e. sprinklers, detection and hydrant/hose reel systems should be reported to Regional Technical Manager at least 48 hours in advance where possible, all impairments should be authorised and supervised by Site Management and completed forms kept on site.

Tất cả các thiệt hại cho hệ thống chữa cháy tức là vòi phun nước, hệ thống phát hiện / vòi phải được báo cáo cho Giám  đốc kỹ thuật khu vực trước ít nhất 48 giờ nếu có thể, tất cả các khiếm khuyết phải được ủy quyền và giám sát bởi quản lý và hoàn thành các hình thức lưu giữ trên trang web.

1. A Fire Systems Impairment Notification Form is to be completed (see following page) signed and sent to Regional Technical Manager with a copy filed at Hotel.

1. Mẫu thông báo hủy bỏ hệ thống chữa cháy sẽ được hoàn tất (xem trang tiếp theo) đã được ký và gửi cho Giám đốc kỹ thuật khu vực và một bản sao được nộp tại Khách sạn.

# REFERENCE DOCUMENTS

POLICY AND PROCEDURE

SUPPORT DOCUMENTS

PROP002 FIRE SYSTEMS IMPAIRMENT NOTIFICATION FORM

All Impairments to Fire Systems i.e. sprinklers, detection and hydrant/hose reel systems should be reported to your Regional Technical Services Manager by fax at least 48 hours in advance where possible, all impairments should be authorised and supervised by Site Management and completed forms kept on site

| TO: REGIONAL TECHNICAL SERVICES MANAGER Fax: Phone: Company Name: Location: |  |  |  |
| --- | --- | --- | --- |
| Impairment From: | Date: | Time: |  |
| Impairment To: | Date: | Time: |  |
| Equipment & Area Affected |  |  |  |
| REASON FOR IMPAIRMENT |  |  |  |
| Precautions Taken (circle Yes – Y No – N) | - Fire Brigade notified - Cutting & Welding Banned - System Reinstated overnight - Additional Fire Extinguishers Provided - Additional security patrols in impairment area - Ensure that all valves Restored to normal positions Fire Pumps and Fire Panel Restored |  |  |
|  | Date: |  | Time: |
| Notified By: | Name: Position: |  | Signature Date |
| SYSTEM RESTORED |  |  |  |
| System Restored | Date: |  | Time: |
| Notified By: | Name: Position: |  | Signature: Date: |