| Issued: | KITCHEN | Index Nº: |
| --- | --- | --- |
| March 2018 | POLICIES & PROCEDURES | KT-08 |
| Revised: |  | Approved By: |
| New Revision Due: |  |  |

1 page

Subject: MAINTAINING AND LOGGING REFRIGERATOR AND FREEZER TEMPERATURES

Objective

To maintain a constant and accurate temperature to hold foods in all of the kitchens storage facilities, chilled and freezer units for maximum shelf life and to ensure any fluctuations of temperatures are recorded.

Procedures

All units must have a daily temperature log

The daily temperature log must be recorded three times per day, once in the morning, once in the afternoon and once in the evening.

The temperature logs (sheets) must be displayed in the kitchen.

The Chefs checking the temperatures must place a signature on the log with the accurate temperature.

The temperature log must be clear and easy to understand for our chefs.

How should this be done?

By means of build in unit temperature displays or probe thermometers

What air temperatures should the units be at?

All fridges, chillers, counter chillers, chilled displays should be at 5 degrees or below.

All freezer units must be at minus -18 degrees or below.

Temperatures are not within the optimum range

If any changes in temperatures are observed the executive chef/executive sous chef must be informed immediately for further action.

Preventative maintenance schedule

All units must be checked/monitored at least one time per month as part of the Engineering preventative maintenance program

Cleaning schedule of the units

As part of the temperature log checklist a cleaning/defrosting schedule will be recorded.

Temperature logs must be kept on file in the executive chefs office for six month duration.

Documenting the refrigerator/freezer log

See attachment for refrigerator/freezer cleaning and temperature log.

Compiled By :………………………………………..….

Approved By:…………………………………………….

Date :…………………………………………………….

GM ……………………………………………………….

Date :…………………………………………………….